## Slide 1
Linear probe transducer settings
Scan line
Convex probe transducer settings
: Transducer scan line pitch (m)
: Transducer scan line number
Scan line
: Transducer radius (m)
: Transducer scan line pitch (rad)

## Slide 2
Linear probe transducer
RF sample
Scan line
: Transducer radius (m)
: Transducer scan line pitch (rad)
: Transducer scan line pitch (m)
: Transducer scan line number
: Transducer RF sample number
: Axial resolution (m) between two RF samples
RF image
Convex probe transducer
Scan line
RF sample
= height
= width
j
i

## Slide 3
Linear probe transducer
B-Mode sample
Scan line
Convex probe transducer
Scan line
B-Mode sample
: Transducer radius (m)
: Transducer scan line pitch (rad)
: Transducer scan line pitch (m)
: Transducer scan line number
: B-Mode sample number after RF sample decimation
: Axial resolution (m) between two B-Mode samples
Pre-scan image
= width
= height
j
i

## Slide 4
Linear probe transducer
Post-scan image
Convex probe transducer
Post-scan image
: Transducer radius (m)
: Transducer scan line pitch (rad)
: Transducer scan line pitch (m)
: Transducer scan line number
: Pixel width resolution
: Pixel height resolution
j
i
j
i

## Slide 5
Linear probe motor
: Frame pitch (m)
: Frame number
Tilting probe motor
: Frame pitch (rad)
: Motor radius (m)

## Slide 6
RF image 3D
Frame number
: Transducer scan line number
First frame
: Transducer RF sample number
width
height
j
i
k

## Slide 7
Pre-scan image 3D
Frame number
: Transducer scan line number
: B-Mode sample number after RF sample decimation
First frame
height
width
j
i
k

## Slide 8
Post-scan image 3D
Linear probe motor
Linear probe transducer
dim Y
dim Z
dim X
virtual plane
First frame
Post-scan image 3D
Linear probe motor
Convex probe transducer
dim Y
dim Z
dim X
virtual plane
First frame

## Slide 9
dim X
dim Z
dim Y
Post-scan image 3D
Convex probe motor
Convex probe transducer
First frame
dim X
dim Z
dim Y
Post-scan image 3D
Convex probe motor
Linear probe transducer
First frame